## Sheet1
Board | PN | SN | Status | Tool | DC | AC | GCAL | ADC | EEPROM | Notes
Dual Pico | 1330-00067-00 Rev 01 | SN 001 | [12/22/2025] Received at PDF [12/28/2025] Tested at PDF, Ch2 18V has big offset. [01/08/2026] Received at PDF after Steve cleaned the board. Tested at PDF. [01/08/2026] Swapped onto tool-9 [04/23/2026] Removed from tool-9 | Tool-9 | Working | Working | Working | Working
|  | SN 002 | [10/27/2025] On tool-9 [01/08/2026] Removed from tool-9, and Irvin took to Samsung [01/15/2026] Installed on Tool-1 | Tool-9 Tool-1 | Working | Working | Working | Working
|  | SN 003 | [11/20/2025] Sent to Steve for Rework [12/05/2025] Received at PDF [12/08/2025] On tool-6 | Tool-6 | Working | Working | Working | Working
|  | SN 004 | [01/27/2026] Received at PDF [01/28/2026] Tested at PDF [02/20/2026] Ship to Steve for osicllation comparison [03/11/2026] Received at MIL with Preamp Rev D2 SN001. Tested on bench at MIL [03/13/2026] Installed on Tool-11 | Tool-11 | Working | Working | Working | Working
|  | SN 005 | [11/28/2025] On tool-10 [12/29/2025] Removed from tool-10 [01/08/2026] Huiliang took to Samsung as backup [01/19/2026] Jeremy brought it back [01/22/2026] Tested at MIL, works OK, installed on Tool-10 | Tool-10 Tool-1 Backup Tool-10 | Working | Working | Working | Working
Dual Pico2 | 1330-00067-01 Rev A | SN 001 | [04/08/2026] Received at MIL, assembled with Preamp Rev D2 SN005. [04/24/2026] Tested at PDF [04/29/2026] Aldo took it to his site for FW development [05/20/2026] Jeremy brought it back and set up at MFPGA-Test-2 bench [06/25/2026] Retested AC and DC gain-offset on bench [06/29/2026] Installed onto Tool-13 | Tool-13
|  | SN 002 | [04/25/2026] Received at MIL, assembled with Preamp Rev D2 SN006. [05/01/2026] Tested at PDF [05/05/2026] Installed on Tool-12 with Preamp Rev D2 SN006. | Tool-12
|  | SN 003 | [05/08/2026] Received at MIL, assembled with Preamp Rev D2 SN010. [05/11/2026] Tested at PDF [05/25/2026] Installed on Tool-13 with Preamp Rev D2 SN010 [06/29/2026] Removed from Tool-13 and retest AC offset-gain on bench | On bench
|  | SN 004 | [06/22/2026] Received at MIL, assembled with Preamp Rev D2 SN008. [06/26/2026] Tested AC and DC gain-offset on bench | On bench
|  | SN 005 | [02/18/2026] Received at MIL, assembled with Preamp Rev D2 SN007. Poor DC offsets on all channels, needs cleaning [04/25/2026] Sent back to Steve for repair and clean, and Steve found OPA818 area has damaged trace | On bench
|  | SN 006 | [04/08/2026] Received at MIL, assembled with Preamp Rev D SN003. [04/23/2026] Installed on Tool-9 with Preamp Rev D SN003. [04/27/2026] Junchao modified the preamp board with a capacitor | Tool-9
Single Pico | 1330-00065-00 Rev 01 | SN 001
|  | SN 002 | [10/27/2025] On tool-9 as SA1 | Tool-9
|  | SN 003 | [10/27/2025] On tool-9 as SA2 | Tool-9
|  | SN 004 | [01/07/2026] On tool-9 as Baffle | Tool-9
SN 005
Preamp | 1330-00015-01 Rev D | SN 001 | [10/27/2025] In Main Lab with Dual Pico 1330-00067-00 Rev 01 SN 005 [11/28/2025] On tool-10 [12/29/2025] Removed from tool-10 [01/08/2026] Huiliang took to Samsung as backup [01/19/2026] Jeremy brought it back [01/22/2026] Installed on Tool-10 | Tool-10 Tool-1 Backup Tool-10
|  | SN 002 | [07/21/2025] Sent to Steve along with enclosure [11/20/2025] Sent to Steve with Dual Pico 1330-00067-00 Rev 01 SN 003 and enclosure for new Dual Pico test [12/05/2025] Received at PDF [12/08/2025] On tool-6 | Tool-6
|  | SN 003 | [07/21/2025] Sent to Steve along with enclosure [04/08/2026] Received at MIL, assembled with Dual Pico Rev A SN006. [04/23/2026] Installed on Tool-9 with Dual Pico Rev A SN006. | Tool-9
|  | SN 004 | [10/27/2025] On tool with Dual Pico 1330-00067-00 Rev 01 SN 002 [01/08/2026] Removed from tool-9, and Irvin took to Samsung [01/15/2026] Installed on Tool-1 | Tool-9 Tool-1
|  | SN 005 | [12/22/2025] Received at PDF with Dual Pico SN 001 [12/24/2025] Revised by Junchao with 2.7pF capacitor [12/28/2025] Tested Dual Pico SN001 at PDF, Ch2 18V has big offset. [01/08/2026] Received at PDF after Steve cleaned the dual pico board. Tested at PDF. [01/08/2026] Swapped onto tool-9 [04/23/2026] Removed from Tool-9 | Tool-9
Preamp2 | 1330-00015-01 Rev D2 | SN 001 | [01/08/2026] Modified with capacitor [01/09/2026] Shipped to Steve [01/27/2026] Received at PDF with Dual Pico 1330-00067-00 Rev 01 SN 004 [02/20/2026] Ship to Steve for dual pico SN004 osicllation comparison [03/11/2026] Received from Steve. [03/13/2026] Installed on Tool-11 with Dual Pico 1330-00067-00 Rev 01 SN 004 | Tool-11
|  | SN005 | [01/26/2026] Modified with capacitor [01/26/2026] Shipped to Steve [04/08/2026] Received at MIL, assembled with Dual Pico Rev A SN001. [04/29/2026] Aldo took it to his site for FW development [06/29/2026] Installed on Tool-13 | Tool-13
|  | SN006 | [02/10/2026] Modified with capacitor [02/10/2026] Shipped to Steve [04/25/2026] Received at MIL, assembled with Dual Pico Rev A SN02. [05/05/2026] Installed on Tool-12 with Dual Pico Rev A SN02. | Tool-12
|  | SN007 | [02/10/2026] Modified with capacitor [02/10/2026] Shipped to Steve [02/18/2026] Received at MIL, assembled with Dual Pico Rev A SN005 [04/25/2026] Sent back to Steve for repair and clean, and Steve found dual pico SNA005's OPA818 area has damaged trace | Steve
|  | SN008 | [05/20/2026] Junchao reworked this preamp [05/21/2026] Ship to Steve along with a new dual pico enclosure [06/22/2026] Received at MIL, assembled with Dual Pico Rev A SN04. | On bench
|  | SN010 | [04/23/2026] Modified with capacitor by Junchao [04/24/2026] Shipped to Steve with dual pico enclosure [05/08/2026] Received at MIL, assembled with Dual Pico Rev A SN03. [05/25/2026] Installed on Tool-13 with Dual Pico Rev A SN03 [06/29/2026] Removed from Tool-13 and retest AC offset-gain on bench | On bench
Blanker | 1330-00060-01 Rev A1 | SN 001 | [01/08/2026] Huiliang took to Samsung as backup [01/19/2026] Jeremy brought it back [01/29/2026] Retest BAP SN002 (Kirk) and column blanker Rev A1 SN001. install them on tool-10 | Tool-10 Tool-1 Backup Tool-10
|  | SN 002 | [10/27/2025] On tool-9 [01/06/2026] Removed from tool-9 [01/08/2026] Huiliang took to Samsung for tool-1 [01/15/2026] Installed on Tool-1 | Tool-9 Tool-1
|  | SN 003 | [12/09/2025] On tool-6 | Tool-6
SN 004
|  | SN 005 | [03/13/2026] Installed on tool-11 upside down, as the column blanker cables are short | Tool-11
|  | SN 006 | [01/06/2026] Installed on tool-9 | Tool-9
|  | SN007 | [05/05/2026] Install on Tool-12 upside down, as the column blanker cables are short, and needs an extension cable to connect to the board due to very limited space | Tool-12
|  | SN008 | [05/27/2026] Install on Tool-13 upside down, as the column blanker cables are short, and needs an extension cable to connect to the board due to very limited space | Tool-13
BAP | 1330-00064-00 | SN 001 | [01/16/2026] BAP SN001 is now working on Tool-9 with column blanker functioning well. it is ADC0 and 2 that don't work. U10 swapped out and tested. Blanker HV (positive and negative) settable. [04/23/2026] Removed from Tool-9 | Tool-9 on desk
|  | SN 002 | [01/08/2026] Huiliang took to Samsung as backup [01/19/2026] Jeremy brought it back [01/29/2026] Retest BAP SN002 (Kirk) and column blanker Rev A1 SN001. install them on tool-10 | Tool-1 Backup Tool-10
|  | SN 003 | [12/23/2025] Installed on tool-9 [01/08/2026] Removed from tool-9, and Huiliang took to Samsung [01/15/2026] Installed on Tool-1 | Tool-9 Tool-1
|  | SN 004 | [03/11/2026] Kirk Added power modules onboard. Tested on bench at MIL with dual pico and column blanker [03/13/2026] Installed on Tool-11 | Tool-11
|  | SN 005 | [12/23/2025] Installed on tool-6 | Tool-6
BAP2 | 1330-00064-01 Rev B | SN001
SN002
SN003
SN004
SN005
SN006
SN007
SN008
SN009
SN010
SN011
SN012
|  | SN013 | [05/28/2026] Install on Tool-9 | Tool-9
SN014
|  | SN015 | [05/27/2026] Install on Tool-13 | Tool-13
SN016
|  | SN017 | [04/23/2026] Installed on Tool-9 [05/28/2026] Removed from Tool-9 and calibrate on Jeremy's bench | Bench
|  | SN018 | [05/05/2026] Install on Tool-12 | Tool-12
SN019
SN020